I.C.R. W.U.A. Monthly Operator Notes

August 2020

Molly Way was flushed twice and the fire pumps exercised.

The easement road was checked twice to insure no leaks or issues with our lines

Weed abatement is ongoing

(2) Emergency call outs, Cooper Morgan boost station VFD tripped and well #2 motor lead pinched down hole/ pulled and replaced well back online

System survey completed, nothing found

Flushed and took 10 samples to Lab. in Sterling Ranch

Moved construction meter to different hydrant

(2) new meter installs (2) TRR

Meter reads went good this month

Monthly samples were collected and delivered to the lab. (No issues)

All equipment is working properly at this time