I.C.R. W.U.A. Monthly Operator Notes

March 2020

Molly Way was flushed twice and the fire pumps exercised.

The easement road was checked twice to insure no leaks or issues with our lines

Having some issues with the deep well control valve at ICR well #2, we have it back working correctly

Repaired the chlorine injector on ICR well #1

Emergency call out for house fire on Iron Hawk in ICR

(4) new meter installations were completed (2) TRR (2) ICR

Generators were fueled

Batteries were replaced on the telemetry system for Whispering Canyon tank

Meter reads went good this month

Monthly samples were collected and delivered to the lab. (No issues)

All equipment is working properly at this time