I.C.R. W.U.A. Monthly Operator Notes

May 2020

Molly Way was flushed twice and the fire pumps exercised.

The easement road was checked twice to insure no leaks or issues with our lines

Weed abatement is ongoing

TRR well #2 equipment failed and Drill-Tech pulled and replaced all downhole equipment motor starter was also replaced

All wells are on-line and working correctly

Responded to and repaired a meter leak in the Cottages (TRR)

(5) new meter installs (2) TRR 2 (ICR) (1) Whispering Canyons

Meter reads went good this month

Monthly samples were collected and delivered to the lab. (No issues)

All equipment is working properly at this time