I.C.R. W.U.A. Monthly Operator Notes

June 2020

Molly Way was flushed twice and the fire pumps exercised.

The easement road was checked twice to insure no leaks or issues with our lines

Weed abatement is ongoing

System survey is ongoing should be completed in July

Air compressor at Molly Way boost station failed to turn off causing some air in the water, responded to several customer calls

ICR well drawdown tests were completed with the hydrologist

(6) new meter installs (1) TRR (5) ICR

Meter reads went good this month

Monthly samples were collected and delivered to the lab. (No issues)

All equipment is working properly at this time