I.C.R. W.U.A. Monthly Operator Notes

July 2020

Molly Way was flushed twice and the fire pumps exercised.

The easement road was checked twice to insure no leaks or issues with our lines

Weed abatement is ongoing

System survey is ongoing

Molly Way tank painting completed

Emergency call out for Molly Way boost station, transducer failed. Replaced and put back in service

(5) new meter installs (4) TRR (1) ICR

Meter reads went good this month

Monthly samples were collected and delivered to the lab. (No issues)

All equipment is working properly at this time