I.C.R. Water Co. Monthly Operator Notes

May 2021

General maintenance and operations are ongoing

Molly Way/Sterling Ranch flushing is ongoing

The easement road was checked twice to insure no leaks or issues with our lines

Well pumping has increased due to seasonal demand

ICR Well #1 building replacement is complete, we are trying to get the old building off site

Weed abatement is on-going

VFD installations have begun on the wells, ICR well #1 and #2 are complete

(11) new meter installs  (6) TRR (5) ICR

Meter reads went good this month

Monthly samples were collected and delivered to the lab. (No issues)

All equipment is working properly at this time