# ICR Water Co.

# Operation Report for the Month of August 2022

## Overall Operations

* General maintenance and operations are on-going
* Easement roads are checked for issues with the transmission lines
* System wide engineering review is on-going with Civil Tech Engineering
* 7 new meter installs 5 TRR 2 ICR
* Hydrology work was completed on all wells
* Drill Tech completed drawdown testing of the new TRR well #4
* Cooper Morgan boost station pump rehab. is ongoing 2 pumps are complete and pump # 3 is at the shop now
* Mission control upgrades are being completed
* Yearly Valve exercise program has started
* Weed abatement is on-going
* 2 emergency call outs
* 130 Blue Stakes orders were completed
* Spare Pump for Whispering Canyon boost station has arrived
* All battery back-ups were replaced at booster stations

## Open Projects

* Mission Control upgrades
* Cooper Morgan booster pump rehab.
* Yearly valve exercise

## Water Testing

|  |  |  |  |
| --- | --- | --- | --- |
| **Analysis Name** | **Month** | **# of samples** | **result** |
| Monthly Microbiology | August 2022 | 4 | Absent |
| DBP’s | July 2022 | 1 | In Compliance |
|  |  |  |  |
|  |  |  |  |