## Slide 1: Inscription Canyon Water Company
Annual Meeting April 28, 2026

## Slide 2: Meeting Welcome
Thank you for your interest and welcome to the Board meeting
  There will be a question and comment section at the end of the meeting.
  This presentation and the meeting minutes will be posted to www.icwc.info
  Feel free to contact your board through the website or in person.

## Slide 3: Meeting Agenda
Welcome and call to order – 10am
Board introductions –Routine Business.
Manager Finance Report
2025 Revenue and budget Performance
2026 budget
Cash Position and forecast
Banking changes
Operations Report
2025 Year-end production Stats
Projected 2026 member additions
Infrastructure status report
Other Business:
Application to the ACC for low interest debt financing approval
Members comments and Questions

## Slide 4: Board of Director’s Business
Introduce Board
Establish Quorum
Ratify Draft minutes to the BOD meeting held April 21, 2026

## Slide 5: Financial Report

## Slide 6: 2025 Financial Summary
873K Revenue +4%
663K Cash expenses +5%
$210K Cash income
100K Amortization payback
66K Net Income after depreciation
30K Capex expense (Well#5 capex booked in 2024)
Cash at Jan 1 – $348K
Cash at Dec 31 - $377K

## Slide 7: 2026 Budget Summary:
Total Revenue $874K (residential up and golf course down)
Operating/admin Expenses $671K
Ordinary Cash Income $203K
Amortization to Developers $110K
Net Income – $30K after depreciation
Projected CAPEX $0K (without financing)
Cash at Jan 1st $377K
Cash forecast at year end $480K (No Capex)

## Slide 8: Operations Report

## Slide 9: 2025 Operating Stats
  Water production 191 MM Gallons
  87MM Gallons to the golf course
  4.1 % water loss
  Onboarded 50 new customers
  Passed all water quality tests
  Accepted new phases in Whispering Canyon and Talking Rock Ranch

## Slide 10: Banking Changes
Previously had 2 accounts at NBAZ averaging 0.6% interest
  Operating (approx. $200K)
  Capital (approx. $125K)
Closed capital account and consolidated to one NBAZ current account
Moved 175 K to Fidelity high yield government securities fund account at 3.56% interest
Set rules for Operating account:
  Below $50K at end of month- add 25K from savings
  Above 100K at end of month – move 25K to savings

## Slide 11: Infrastructure Report Card
ICR well #2 rehabilitated in 2023
TRR well #2 replaced in 2024 – Now well #4
TRR well l#1 replaced in 2025 – Now well #5
ICR well #1 rehabilitated 2025 (last time)
All tanks inspected and painted
All as-built drawings updated and records digitized
All major booster pumps rebuilt or replaced
All structures equipped with heat/cool
  OSHA compliance
SCADA introduced to highest priority devices
Meters added to all well flows

## Slide 12: 2026 Growth Projection
Currently 482 member-meters in TRR
Currently 502 member-meters in WC/IC and Preserve
TRR phase 7 in progress
WC phases 6 and 7 in progress
WC phase 11 in planning
Project 50 new connections in 2026
2027 and onward will slow
  WC has only 1 phase remaining
  Symmetry land lawsuit

## Slide 13: Other Business
  Application to ACC for approval to pursue low interest capital financing
  ICWC has spent $600K over the last 3 years from savings over and above annual capital allocations
    Replace TRR #2 well with well #4
    Replace TRR #1 well with well #5
    Rehabilitate ICR #2 well
    Rehabilitate ICR #1 well
  Several significant capital projects remain to guaranty adequate, reliable and safe water for member consumption and fire safety.
  ICWC has requested approval from its regulators to take on up to $900K in long-term, low interest infrastructure debt

## Slide 14: Request details
Replace Well #1 (30 years old and deteriorating)
Backup power generators for well-sites and ICR booter station
Automatic golf course shutoff valve in case of power outage
Additional SCADA nodes to complete electronic monitoring/alarming on entire system
Emergency tie-in valve to allow flow between systems in case of a prolonged mechanical outage or a large fire situation

## Slide 15: Status of request
ACC accounting has reviewed proposal and filed recommendations
ACC engineering has reviewed plant capability
Administrative law judge will rule on recommendations next month
The matter will be read at an open ACC meeting for approval/denial by the ACC directors (Date TBD)
All members received access to the ACC docket with information in the March billing
Members may ask questions/object or offer suggestions through the ACC docket of via email to the board.
Members may discuss later at this open meeting

## Slide 16: Path forward…
If the ACC administrative law judge and board approve our request, they will grant us permission to seek financing (like getting pre-approved for a mortgage)
Preliminary discussions with WIFA (Water Infrastructure Financing Administration) and several commercial entities that participate in this kind of lending have been had
For a 20 year loan in the amount of $900K, the interest rate appears to be around 6%, which would render a monthly debt coverage of approximately $4500/month. There is a possibility of forgiveness of part of the debt in the latter years of the term.
Projects would be implemented in phases

## Slide 17: Members Questions and comments
Please state your name and which part of our service area your home is in.

## Slide 18: Thank You! – Remember www.ICWC.info That’s how you stay informed and how Transparency Happens!
Adjournment