Notes for August 20206
#1- ADEQ inspections are complete. Al issues resolved..
They do know that the 2 systems are now grade 3's and there will be changes.
#2- Getting a bid to enclose the #5 well at TRR
#3- Whispering canyon boost motor should be here shortly
#4-The alternator for the ICR wells should be complete this week.
#5- Valve exercising has begun. 
#6- Weed control is ongoing


